## Office
SITE | St. John's
REGION | Americas
SEGEMENT | Standard Office on 6.0002 acres of land
Owned / Leased | Owned
Service Provided at location
Operations, Maintenance & Repair | BMS Operation & Maintenance |  | Y
| Asset Maint Planning & Scheduling |  | Y
| AC & Heating |  | Y
| Electricity |  | Y
| Lighting | Interior Lighting | Y
|  | Exterior Lighting | Y
| MEP & Structural Maintenance | Mechanical Maintenance | Y
|  | Electrical Maintenance | Y
|  | Plumbing Maintenance | Y
|  | Structural Maintenance | Y
| Asset Maintenance Management Program | Statutory Preventative Maintenance | Y
|  | Preventative Maintenance | Y
| Maintenance of Data / Server Rooms | AC Operation & Maintenance | Y
|  | Gas Suppression / Fire Suppression Systems | Y
|  | Operation / Testing & Maintenance of UPS | Y
| Small Appliance Testing |  | Y
| Furniture Maintenance, Repair, Modification & Replacement |  | Y
| Service (Demand) Requests |  | Y
| Building Fire Barriers / Systems |  | Y
| Warranty & Service Contract Admin |  | Y
| Energy & Utility Management |  | Y
| Care of Service Provider Spaces |  | Y
| 500 kVA Diesel Fired Emergency Generator | Fuel Supply | Y
|  | Regular Preventative Maintenance | Y
| Major Maintenance & Repair | Major Maintenance & Repair | Y
|  | Facility Improvement Projects | Y
|  | Facility Repair | Y
Appearance Maintenance (Includes Grounds & Parking) | Indoor Appearance & Interior Maintenance | Indoor Appearance & Interior Maintenance | Y
|  | Locksmith Services | Y
|  | Maintain and Repair Furnishings & Fixtures | Y
| Maintain Parking Garages |  | Y
| Maintain Loading Docks |  | Y
| Outdoor Appearance | Snow Removal / De-icing | Y
|  | Landscaping | Y
|  | Pest Control | Y
|  | Parking / Roads / Signage Maintenance | Y
Mail services |  |  | Y
Security | Security Guard Services |  | Y
| Reception & Front of House Services | Reception Services | Y
|  | Phone Operators | Y
| Control "Command" Center Operations |  | Y
| Personnel Related & Other Security Services |  | Y
| Security System & Equipment Maintenance |  | Y
| General Safety Equipment (e.g. visitor PPE), SSHE materials |  | Y
Janitorial Services | Routine Janitorial Services | Offices / Common Facilities & Front of House Services | Y
|  | Conference Rooms | Y
|  | Back of House Areas | Y
|  | Comply with Company Recyling Program | Y
| Non Routine Janitorial Services |  | Y
Food Services | Dining Services (optional - TBC) |  | Y
| Vending Services (optional - TBC) |  | Y
| Cafeteria Operators (optional - TBC) |  | Y
| Food Service Safety Inspection |  | Y
| Kitchen Equipment - Maintenance and Repair |  | Y
Conference services |  |  | Y
Photocopy & Service Centre Supplies | Service Centre Supplies |  | Y
Small Technical Projects | Client Work Requests |  | Y
| Moves |  | Y
Artwork Management |  |  | Y
Optional Services | Hospitality / Business Dining |  | Y
| Freight / Courier Services if required |  | Y
Emergency Response |  |  | Y
Site Specific Additional Services | Site Specific | Fitness Equipment Maintenance | Y
Site Specific Additional Services | Parking Management |  | Y
Site Specific Additional Services | Wellness Center Management (optional - TBC) |  | Y
Benchmarking Category | KRSF | Capacity | Primary Use
Office | 98,124 square feet | Occupancy - 475 people | Office
Surface Parking |  | 365 spaces
Parkade Parking |  | 225 spaces (103 covered, 122 top level uncovered)
Passenger Elevators |  | 2
Freight Elevators |  | 0

## Landing Sites
SITE | 2 Landing Sites within St. John's area 1) Cape Broyle 2) Logy Bay
REGION | Americas
SEGEMENT | Fibre Cable Onshore Landing Site Building
Owned / Leased | Owned
Service Provided at location
Operations, Maintenance & Repair | Asset Maint Planning & Scheduling |  | Y
| AC & Heating |  | Y
| Lighting | Interior Lighting | Y
|  | Exterior Lighting | Y
| MEP & Structural Maintenance | Mechanical Maintenance | Y
|  | Electrical Maintenance | Y
|  | Plumbing Maintenance | Y
|  | Structural Maintenance | Y
| Asset Maintenance Management Program | Statutory Preventative Maintenance | Y
|  | Preventative Maintenance | Y
| Maintenance of Data / Server Rooms | AC Operation & Maintenance | Y
|  | Gas Suppression / Fire Suppression Systems | Y
|  | Operation / Testing & Maintenance of UPS | Y
| Service (Demand) Requests |  | Y
| Building Fire Barriers / Systems |  | Y
| Major Maintenance & Repair | Major Maintenance & Repair | Y
|  | Facility Improvement Projects (<50k USD) | Y
|  | Facility Repairs - corrective parts >5k$ USD excluding Sales tax (convert in local currency) | Y
Appearance Maintenance (Includes Grounds & Parking) | Indoor Appearance & Interior Maintenance | Locksmith Services | Y
| Outdoor Appearance | Snow Removal / De-icing | Y
|  | Pest Control | Y
|  | Parking / Roads / Signage Maintenance | Y
Security | Security Guard Services |  | Y
| Security System & Equipment Maintenance |  | Y
| General Safety Equipment (e.g. visitor PPE), SSHE materials |  | Y
Janitorial Services | Routine Janitorial Services |  | Y
Small Technical Projects | Client Work Requests |  | Y
Emergency Response |  |  | Y